Chapter B 
Program Overview

The calculation program PowerFactory, as written by DIgSILENT, is a computer aided engineering tool for the analysis of transmission, distribution, and industrial electrical power systems. It has been designed as an advanced integrated and interactive software package dedicated to electrical power system and control analysis in order to achieve the main objectives of planning and operation optimization.

The name DIgSILENT stands for "DIgital SImuLation and Electrical NeTwork calculation program''. DIgSILENT Version 7 was the world's first power system analysis software with an integrated graphical single-line diagram interface. That interactive single-line diagram included drawing functions, editing capabilities and all relevant static and dynamic calculation features.

The PowerFactory package was designed and developed by qualified engineers and programmers with many years of experience in both electrical power system analysis and programming fields. The accuracy and validity of the results obtained with this package has been confirmed in a large number of implementations, by organizations involved in planning and operation of power systems (please see the reference list).

In order to meet today's power system analysis requirements, the DIgSILENT PowerFactory power system calculation package was designed as an integrated engineering tool which provides a complete 'walk-around' technique through all available functions, rather than a collection of different software modules. The following key-features are provided by the program:

- PowerFactory core functions: definition, modification and organization of cases; core numerical routines; output and documentation functions

- Integrated interactive single line graphic and data case handling

- Power system element and base case database

- Integrated calculation functions (e.g. line and machine parameter calculation based on geometrical or nameplate information)

- Power system network configuration with interactive or on-line access to the SCADA system

- Generic interface for computer-based mapping systems

By using just a single database, containing all the required data for all equipment within a power system (e.g. line data, generator data, protection data, harmonic data, controller data), PowerFactory can easily execute any or all available functions, all within the same program environment. Some of these functions are load-flow, short-circuit calculation, harmonic analysis, protection coordination, stability calculation and modal analysis.